## DATA_SHEET
Online Pollution Monitoring Portal
Site Name: Laurus Labs Limited Unit 1
From Date: 2026/01/01 To Date: 2026/06/30
Report Name: Custom Report
Report Created by LLLU1 on 2026-07-11 12:23:05
Sl No. | Time | FES_102_RM-pH - (pH) Raw | AL_VSP1_GCB1B_SCB_102-pH - (pH) Raw | SCRUBBER_SCB_103_GCB1C-pH - (pH) Raw | SCB_301-pH - (pH) Raw | SCB_302-pH - (pH) Raw | SCB_303-pH - (pH) Raw | LL_VSP1_OCB_SCB_304-pH - (pH) Raw | LL_VSP1_GCB2_SCB_501-pH - (pH) Raw | LL_VSP1_GCB3_SCB_502-pH - (pH) Raw | LL_VSP1_GCB4_SCB_601-pH - (pH) Raw | SCB_604-pH - (pH) Raw | SCB_605-pH - (pH) Raw | SCB_606-pH - (pH) Raw | LL_VSP1_GCB5_SCB_701-pH - (pH) Raw | LL_VSP1_GCB7_SCB_901-pH - (pH) Raw | LL_VSP1_RM_SCB_105-pH - (pH) Raw | LL_VSP1_EHS_SCB_106-pH - (pH) Raw | LL_VSP1_EHS_SCB_107-pH - (pH) Raw | Ammonia_Scrubber-pH - (pH) Raw | LL_VSP1_RM_SCB_104-pH - (pH) Raw | FES_101_RM-pH - (pH) Raw | GCB_6_Scrubber-pH - (pH) Raw | Ambient-Ambient_VOC - (ug/m3) Raw | Aaqms_2-VOC - (ug/m3) Raw
1 | 2026-01-01 | 9.5 | 12 | 14 | 11.13 | 8.15 | 12.34 | 0.95 | 1.5 | 1.41 | NA | NA | NA | NA | NA | 11.28 | 13.02 | 6.9 | 9.02 | 9.8 | 12.45 | NA | NA | 0 | 0.45
2 | 2026-01-02 | 9.5 | 12 | 14.08 | 11.2 | 8.15 | 11.76 | 0.95 | 1.53 | 1.4 | NA | NA | NA | NA | NA | 11.29 | 13.09 | 6.9 | 8.96 | 9.8 | 12.57 | NA | NA | 0 | 0.45
3 | 2026-01-03 | 9.5 | 12.09 | 14 | 11.15 | 8.15 | 11.27 | 0.95 | -0.35 | 1.4 | NA | NA | NA | NA | NA | 11.3 | 13.05 | 6.9 | 8.47 | 9.8 | 12.58 | NA | NA | 0 | 0.47
4 | 2026-01-04 | 9.5 | 12.04 | 13.91 | 11.1 | 8.12 | 12.52 | 0.95 | -0.3 | 1.41 | NA | NA | NA | NA | NA | 11.29 | 12.84 | 6.9 | 8.87 | 9.8 | 12.57 | NA | NA | 0 | 0.51
5 | 2026-01-05 | 9.5 | 12.14 | 14 | 11.12 | 8.08 | 11.94 | 0.95 | -0.17 | 1.4 | NA | NA | NA | NA | NA | 11.3 | 12.8 | 6.9 | 8.88 | 9.8 | 12.56 | NA | NA | 0 | 0.41
6 | 2026-01-06 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0.41
7 | 2026-01-07 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0.52
8 | 2026-01-08 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0.54
9 | 2026-01-09 | 9.5 | 11.8 | 13.84 | 11.18 | 7.83 | 12.89 | 0.95 | -0.35 | 1.38 | NA | NA | NA | NA | NA | 11.29 | 12.61 | 6.9 | 9.15 | 9.8 | 12.48 | NA | NA | 0 | 0.48
10 | 2026-01-10 | 9.5 | 11.82 | 13.82 | 11.2 | 7.84 | 12.85 | 0.95 | -0.35 | 1.37 | NA | NA | NA | NA | NA | 11.31 | 12.59 | 6.9 | 9.17 | 9.8 | 12.52 | NA | NA | 0 | 0.53
11 | 2026-01-11 | 9.5 | 12.08 | 13.99 | 11.18 | 7.83 | 12.54 | 0.95 | -0.35 | 1.37 | NA | NA | NA | NA | NA | 11.31 | 12.52 | 6.9 | 9.17 | 9.8 | 12.5 | NA | NA | 0 | 0.51
12 | 2026-01-12 | 9.5 | 11.9 | 9.94 | 11.2 | 7.77 | 11.17 | 5.23 | 2.93 | 5.77 | NA | NA | NA | NA | NA | 11.3 | 12.46 | 6.9 | 9.17 | 9.8 | 12.49 | NA | NA | 0 | 0.52
13 | 2026-01-13 | 9.5 | 11.9 | 5.6 | 11.19 | 8.27 | 7.76 | 9.5 | 7.3 | 13.69 | NA | NA | NA | NA | NA | 11.31 | 12.45 | 6.9 | 9.17 | 9.8 | 12.52 | NA | NA | 0 | 0.54
14 | 2026-01-14 | 9.5 | 11.95 | 5.6 | 11.22 | 8.34 | 12.47 | 9.5 | 7.3 | 13.63 | NA | NA | NA | NA | NA | 11.31 | 12.4 | 6.9 | 9.11 | 9.8 | 12.54 | NA | NA | 0 | 0.57
15 | 2026-01-15 | 9.5 | 12.12 | 5.6 | 11.18 | 8.62 | 11.84 | 9.5 | 7.3 | 13.7 | NA | NA | NA | NA | NA | 11.32 | 12.34 | 6.9 | 9 | 9.8 | 12.57 | NA | NA | 0 | 0.51
16 | 2026-01-16 | 9.5 | 12.6 | 5.6 | 11.01 | 8.69 | 12.82 | 9.5 | 7.3 | 13.8 | NA | NA | NA | NA | NA | 11.31 | 12.36 | 6.89 | 9.13 | 9.8 | 12.47 | NA | NA | 0 | 0.49
17 | 2026-01-17 | 9.5 | 12.2 | 5.6 | 11.17 | 8.36 | 11.5 | 9.5 | 7.3 | 13.65 | NA | NA | NA | NA | NA | 11.32 | 12.3 | 6.9 | 9.06 | 9.8 | 12.59 | NA | NA | 0 | 0.54
18 | 2026-01-18 | 9.5 | 12.13 | 5.6 | 11.17 | 8.35 | 11.54 | 9.5 | 7.3 | 13.73 | NA | NA | NA | NA | NA | 11.32 | 12.27 | 6.9 | 9.07 | 9.8 | 12.52 | NA | NA | 0 | 0.46
19 | 2026-01-19 | 9.5 | 12 | 5.52 | 11.14 | 7.99 | 11.62 | 9.5 | 7.3 | 13.7 | NA | NA | NA | NA | NA | 11.31 | 12.29 | 6.89 | 9.06 | 9.8 | 12.43 | NA | NA | 0 | 0.34
20 | 2026-01-20 | 9.5 | 11.9 | 5.5 | 11.23 | 9.01 | 11.39 | 9.5 | 7.3 | 13.64 | 14.01 | 10.94 | 11.25 | 4.86 | NA | 11.33 | 14.76 | 6.89 | 8.86 | 9.8 | 12.54 | NA | NA | 0 | 0.53
21 | 2026-01-21 | 9.5 | 11.94 | 5.48 | 11.2 | 8.52 | 11.05 | 9.5 | 7.3 | 13.77 | 14.06 | 11.16 | 10.81 | 5.93 | NA | 11.32 | 12.21 | 6.89 | 9.06 | 9.8 | 12.49 | NA | NA | 0 | 0.44
22 | 2026-01-22 | 9.5 | 12.1 | 5.46 | 11.25 | 8.81 | 10.84 | 9.5 | 7.3 | 13.69 | 14.05 | 10.93 | 11.15 | 11.14 | NA | 11.32 | 12.18 | 6.89 | 8.9 | 9.8 | 11.78 | NA | NA | 0 | 0.46
23 | 2026-01-23 | 9.5 | 12.1 | 5.48 | 11.27 | 8.53 | 11.24 | 9.5 | 7.3 | 13.62 | 14.03 | 11.17 | 11.33 | 7.97 | NA | 11.33 | 12.14 | 6.89 | 8.83 | 9.8 | 10.81 | NA | NA | 0 | 0.36
24 | 2026-01-24 | 9.5 | NA | 5.48 | 11.24 | 8.38 | 11.44 | 9.5 | 7.3 | 13.7 | 14.03 | 11.25 | 11.01 | 5.76 | NA | 11.32 | 12.08 | 6.9 | 8.87 | 9.8 | 10.93 | NA | NA | 0 | 0.37
25 | 2026-01-25 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0.54
26 | 2026-01-26 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0.41
27 | 2026-01-27 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0.42
28 | 2026-01-28 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | NA
29 | 2026-01-29 | 9.5 | 15.21 | 5.48 | 11.27 | 7.43 | 12.76 | 9.5 | 7.3 | 13.6 | 14.02 | 11.18 | 10.97 | 11.67 | NA | 11.33 | 11.99 | 6.89 | 9.02 | 9.8 | 10.96 | NA | NA | 0 | NA
30 | 2026-01-30 | 9.5 | 13.4 | 5.46 | 11.19 | 7.46 | 11.87 | 9.5 | 7.3 | 13.61 | 14.02 | 11.05 | 11.07 | 11.75 | NA | 11.33 | 11.96 | 6.89 | 9.05 | 9.8 | 10.96 | NA | NA | 0 | NA
31 | 2026-01-31 | 9.5 | 13.9 | 5.48 | 11.23 | 7.43 | 12.14 | 9.5 | 7.3 | 13.59 | 14.09 | 11.02 | 11.01 | 12.15 | NA | 11.34 | 13.34 | 6.89 | 8.98 | 9.8 | 10.96 | NA | NA | 0 | NA
32 | 2026-02-01 | 9.5 | 13.6 | 5.48 | 11.26 | 7.44 | 11.63 | 9.5 | 7.3 | 13.58 | 14.14 | 10.95 | 11.1 | 12.44 | NA | 11.35 | 15.19 | 6.89 | 9.05 | 9.8 | 10.95 | NA | NA | 0 | NA
33 | 2026-02-02 | 9.5 | 13.48 | 5.45 | 11.31 | 7.48 | 9.91 | 9.5 | 7.3 | 13.6 | 14.14 | 11.16 | 10.99 | 12.46 | NA | 11.35 | 15.16 | 6.89 | 9.05 | 9.8 | 10.96 | NA | NA | 0 | 0.45
34 | 2026-02-03 | 9.5 | 13.34 | 5.46 | 11.35 | 7.9 | 11.58 | 9.5 | 7.3 | 13.62 | 14.09 | 10.97 | 11.17 | 12.43 | NA | 11.35 | 15.07 | 6.89 | 9.14 | 9.8 | 10.97 | NA | NA | 0 | 0.23
35 | 2026-02-04 | 9.5 | 12.75 | 5.46 | 11.52 | 8.15 | 11.16 | 9.5 | 7.3 | 13.65 | 14.08 | 11.2 | 10.94 | 12.38 | NA | 11.35 | 14.78 | 6.89 | 9.16 | 9.8 | 10.97 | NA | NA | 0 | 0.25
36 | 2026-02-05 | 9.5 | 12.77 | 5.46 | 11.79 | 8.36 | 11.12 | 9.5 | 7.3 | 13.69 | 14.04 | 11.03 | 11.14 | 12.29 | NA | 11.35 | 13.33 | 6.89 | 9.22 | 9.8 | 10.97 | NA | NA | 0 | 0.2
37 | 2026-02-06 | 9.5 | 12.86 | 5.46 | 12.09 | 8.1 | 11.26 | 9.5 | 7.3 | 13.7 | 14.01 | 11.1 | 11.1 | 11.96 | NA | 11.35 | 12.45 | 6.89 | 9.26 | 9.8 | 10.94 | NA | NA | 0 | 0.24
38 | 2026-02-07 | 9.5 | 12.98 | 5.24 | 11.86 | 7.7 | 12.28 | 9.5 | 7.3 | 13.67 | 14.08 | 11.15 | 11.37 | 9.17 | NA | 11.35 | 12.17 | 6.89 | 9.27 | 9.8 | 10.98 | NA | NA | 0 | 0.2
39 | 2026-02-08 | 9.5 | 12.94 | 5.45 | 11.89 | 7.78 | 12.17 | 9.5 | 7.3 | 13.66 | 14.13 | 11.17 | 11.1 | 12.38 | NA | 11.35 | 11.99 | 6.89 | 9.27 | 9.8 | 10.98 | NA | NA | 0 | 0.27
40 | 2026-02-09 | 9.5 | 12.92 | 5.45 | 12.01 | 7.87 | 11.53 | 9.5 | 7.3 | 13.64 | 14.16 | 11.14 | 10.99 | 12.2 | NA | 11.36 | 11.86 | 6.89 | 9.27 | 9.8 | 10.98 | NA | NA | 0 | 0.28
41 | 2026-02-10 | 9.5 | 13.17 | 5.43 | 12.02 | 7.64 | 12.05 | 9.5 | 7.3 | 13.59 | 14.13 | 11.04 | 10.86 | 12.28 | NA | 11.36 | 11.77 | 6.89 | 9.24 | 9.8 | 10.98 | NA | NA | 0 | 0.27
42 | 2026-02-11 | 9.5 | 13.2 | 5.23 | 12.06 | 7.3 | 12.13 | 9.5 | 7.3 | 13.57 | 14.22 | 11.09 | 11.15 | 12.53 | NA | 11.37 | 11.68 | 6.89 | 9.2 | 9.8 | 10.98 | NA | NA | 0 | 0.14
43 | 2026-02-12 | 9.5 | 12.65 | 5.22 | 12.13 | 6.64 | 12.16 | 9.5 | 7.3 | 13.56 | 14.22 | 10.94 | 11 | 12.27 | NA | 11.4 | 11.6 | 6.89 | 9.22 | 9.8 | 10.95 | NA | NA | 0 | 0.26
44 | 2026-02-13 | 9.5 | 12.39 | 5.19 | 12.17 | 6.08 | 12.39 | 9.5 | 7.3 | 13.56 | 14.13 | 11.29 | 11.13 | 11.58 | NA | 11.38 | 11.52 | 6.89 | 9.26 | 9.8 | 10.99 | NA | NA | 0 | 0.29
45 | 2026-02-14 | 9.5 | 12.6 | 5.18 | 11.9 | 6.93 | 12 | 9.5 | 7.3 | 13.54 | 14.15 | 11.11 | 10.99 | 11.84 | NA | 11.38 | 11.44 | 6.89 | 9.19 | 9.8 | 10.89 | NA | NA | 0 | 0.17
46 | 2026-02-15 | 9.5 | 12.6 | 5.18 | 11.96 | 6.94 | 11.77 | 9.5 | 7.3 | 13.55 | 14.17 | 11.12 | 11.01 | 12.43 | NA | 11.38 | 11.37 | 6.89 | 9.17 | 9.8 | 10.8 | NA | NA | 0 | 0.29
47 | 2026-02-16 | 9.5 | 3.23 | 1.43 | 11.89 | 6.69 | 11.28 | 9.5 | 7.3 | 13.57 | 14.14 | 11.24 | 11.19 | 12.28 | NA | 11.38 | 11.51 | 6.89 | 9.1 | 9.8 | 10.8 | NA | NA | 0 | 0.19
48 | 2026-02-17 | 9.5 | 0.95 | 2.33 | 11.95 | 6.46 | 11.2 | 9.5 | 7.3 | 13.54 | 14.19 | 11.13 | 11.26 | 11.74 | NA | 11.38 | 11.38 | 6.89 | 9.09 | 9.8 | 10.8 | NA | NA | 0 | 0.19
49 | 2026-02-18 | 9.5 | 9.01 | 8.98 | 11.98 | 6.9 | 11.89 | 9.5 | 7.3 | 13.53 | 14.16 | 11.15 | 11.18 | 12.45 | NA | 11.39 | 13.44 | 6.89 | 9.12 | NA | 10.8 | NA | NA | 0 | 0.22
50 | 2026-02-19 | 9.5 | 9.01 | 8.98 | 12.08 | 7.3 | 12.1 | 9.5 | 7.3 | 13.53 | 14.15 | 11.1 | 11.21 | 12.36 | NA | 11.41 | 11.38 | 6.89 | 9.17 | NA | 10.8 | NA | NA | 0 | 0.25
51 | 2026-02-20 | 9.5 | 9.01 | 8.98 | 12.11 | 7.51 | 12.24 | 9.5 | 7.3 | 13.58 | 14.16 | 9.68 | 10.96 | 12.19 | NA | 11.4 | 11.07 | 6.89 | 9.22 | NA | 10.8 | NA | NA | 0 | 0.25
52 | 2026-02-21 | 9.5 | 8.16 | 8.9 | 11.9 | 7.05 | 12.37 | 9.5 | 15.74 | 13.59 | 14.15 | 7.21 | 11.28 | 11.74 | NA | 11.39 | 11.02 | 6.89 | 9.23 | NA | 10.81 | NA | NA | 0 | 0.24
53 | 2026-02-22 | 9.5 | 7.37 | 8.83 | 11.87 | 6.7 | 11.89 | 9.5 | 19.38 | 13.66 | 14.12 | 7.21 | 11.18 | 12.41 | NA | 11.39 | 10.98 | 6.89 | 9.23 | NA | 10.81 | NA | NA | 0 | 0.24
54 | 2026-02-23 | 9.5 | 7.36 | 8.83 | 11.84 | 6.65 | 11.89 | 9.5 | 19.4 | 13.66 | 14.07 | 7.21 | 11.13 | 12.23 | NA | 11.4 | 10.92 | 6.89 | 9.23 | NA | 10.81 | NA | NA | 0 | 0.34
55 | 2026-02-24 | 9.5 | 7.36 | 8.83 | 11.78 | 7.36 | 11.79 | 9.5 | 19.4 | 13.63 | 14.04 | 7.21 | 11.07 | 12.21 | NA | 11.41 | 10.88 | 6.89 | 9.25 | NA | 10.81 | NA | NA | 0 | 0.21
56 | 2026-02-25 | 9.5 | 7.36 | 8.83 | 11.68 | 7.4 | 11.76 | 9.5 | 19.74 | 13.59 | 14.05 | 7.21 | 10.91 | 12.22 | NA | 11.42 | 13.49 | 6.89 | 9.26 | NA | 10.78 | NA | NA | 0 | 0.22
57 | 2026-02-26 | 9.5 | 7.35 | 8.81 | 11.59 | 7.38 | 11.23 | 9.5 | 18.4 | 13.51 | 13.97 | 7.21 | 11.16 | 12.3 | NA | 11.43 | 15.02 | 6.89 | 9.24 | NA | 10.82 | NA | NA | 0 | 0.23
58 | 2026-02-27 | 9.5 | 7.36 | 8.81 | 11.58 | 7.55 | 11.54 | 9.5 | 13.84 | 13.47 | 13.9 | 7.21 | 11.21 | 12.37 | NA | 11.42 | 11.22 | 6.89 | 9.19 | NA | 10.35 | NA | NA | 0 | 0.23
59 | 2026-02-28 | 9.5 | 7.36 | 8.81 | 11.52 | 7.47 | 11.79 | 9.5 | 13.46 | 13.47 | 14 | 7.21 | 10.96 | 12.6 | NA | 11.42 | 11.1 | 6.89 | 9.19 | NA | 10.82 | NA | NA | 0 | 0.23
60 | 2026-03-01 | 9.5 | 7.32 | 8.81 | 11.5 | 7.12 | 11.84 | 9.5 | 10.5 | 13.48 | 14.02 | 7.21 | 11.25 | 12.75 | NA | 11.42 | 11.05 | 6.89 | 9.18 | NA | 10.82 | NA | NA | 0 | 0.24
61 | 2026-03-02 | 9.5 | 7.33 | 8.81 | 10.87 | 7.46 | 11.39 | 9.5 | 13.63 | 13.48 | 14.02 | 7.21 | 11.04 | 12.68 | NA | 11.41 | 11.03 | 6.88 | 9.2 | NA | 10.82 | NA | NA | 0 | 0.3
62 | 2026-03-03 | 9.5 | 7.33 | 8.81 | 10.53 | 7.26 | 10.75 | 9.5 | 7.06 | 13.52 | 13.96 | 7.21 | 11.14 | 11.54 | NA | 11.41 | 11.02 | 6.89 | 9.2 | NA | 10.83 | NA | NA | 0 | 0.26
63 | 2026-03-04 | 9.5 | 7.32 | 8.81 | 10.59 | 7.06 | 10.13 | 9.5 | 13.57 | 13.56 | 14.03 | 7.21 | 11.35 | 10.33 | NA | 11.41 | 11.01 | 6.89 | 9.15 | NA | 10.83 | NA | NA | 0 | 0.18
64 | 2026-03-05 | 9.5 | 7.33 | 8.81 | 10.66 | 7.09 | 10.35 | 9.5 | 12.18 | 13.58 | 14.33 | 7.21 | 11.14 | 11.84 | NA | 11.4 | 11 | 0.91 | 1.88 | NA | 10.81 | NA | NA | 0 | 0.22
65 | 2026-03-06 | 9.5 | 7.31 | 8.81 | 10.71 | 7.05 | 10.59 | 9.5 | 8.82 | 13.56 | 14.4 | 7.21 | 11.22 | 12.62 | NA | 11.41 | 11.01 | -0.39 | 0.17 | NA | 10.83 | NA | NA | 0 | 0.25
66 | 2026-03-07 | 9.5 | 7.3 | 8.81 | 10.72 | 7.06 | 10.78 | 9.5 | 10.98 | 13.54 | 14.36 | 7.21 | 11.45 | 12.52 | NA | 11.41 | 10.97 | 6.89 | 8.89 | NA | 10.83 | NA | NA | 0 | 0.2
67 | 2026-03-08 | 9.5 | 7.25 | 8.81 | 10.86 | 7.06 | 10.94 | 9.5 | 13.05 | 13.52 | 14.39 | 7.21 | 11.37 | 12.49 | NA | 11.42 | 10.96 | 6.89 | 9.01 | NA | 10.83 | NA | NA | 0 | 0.22
68 | 2026-03-09 | 9.5 | 7.24 | 8.81 | 10.81 | 7.07 | 10.98 | 9.5 | 10.71 | 13.5 | 12.1 | 7.21 | 11.39 | 12.47 | NA | 11.42 | 10.94 | 6.89 | 9.01 | NA | 10.83 | NA | NA | 0 | 0.2
69 | 2026-03-10 | 9.5 | 7.27 | 8.81 | 10.77 | 7.06 | 10.92 | 9.5 | 11.08 | 13.47 | 8.25 | 7.21 | 11.11 | 12.58 | NA | 11.42 | 10.93 | 6.89 | 8.99 | NA | 10.4 | NA | NA | 0 | 0.19
70 | 2026-03-11 | 9.5 | 7.31 | 8.81 | 10.87 | 7.06 | 10.71 | 9.51 | 12.04 | 13.49 | 8.25 | 7.21 | 11.45 | 12.57 | NA | 11.42 | 10.92 | 6.89 | 9.06 | NA | 10.83 | NA | NA | 0 | 0.24
71 | 2026-03-12 | 9.5 | 7.34 | 8.81 | 10.85 | 7.06 | 10.62 | 9.51 | 12.74 | 13.57 | 8.25 | 7.21 | 11.23 | 12.09 | NA | 11.42 | 10.9 | 6.89 | 9.04 | NA | 10.83 | NA | NA | 0 | 0.25
72 | 2026-03-13 | 9.5 | 7.33 | 8.82 | 10.74 | 7.06 | 10.76 | 9.51 | 12.59 | 13.53 | 8.24 | 7.21 | 11.52 | 11.04 | NA | 11.42 | 11 | 6.89 | 8.91 | NA | 10.83 | NA | NA | 0 | 0.22
73 | 2026-03-14 | 9.5 | 7.32 | 8.81 | 10.66 | 7.06 | 10.81 | 9.51 | 9.67 | 13.46 | 8.25 | 7.21 | 11.27 | 10.47 | NA | 11.43 | 10.91 | 6.89 | 8.94 | NA | 10.84 | NA | NA | 0 | 0.13
74 | 2026-03-15 | 9.5 | 7.32 | 8.81 | 10.52 | 7.07 | 10.8 | 9.51 | 6.43 | 13.4 | 8.24 | 7.2 | 11.54 | 10.23 | NA | 11.44 | 10.9 | 6.89 | 8.84 | NA | 10.83 | NA | NA | 0 | 0.15
75 | 2026-03-16 | 9.5 | 7.34 | 8.81 | 10.65 | 7.05 | 10.86 | 9.51 | 13.34 | 13.48 | 8.24 | 7.21 | 11.26 | 10.94 | NA | 11.43 | 10.97 | 6.88 | 9.05 | NA | 10.84 | NA | NA | 0 | 0.14
76 | 2026-03-17 | 9.5 | 7.35 | 8.81 | 10.67 | 7.09 | 10.83 | 9.51 | 13.25 | 13.49 | 8.24 | 7.21 | 11.17 | 12.93 | NA | 11.44 | 11.29 | 6.88 | 8.99 | NA | 10.83 | NA | NA | 0 | 0.19
77 | 2026-03-18 | 9.5 | 7.36 | 8.81 | 10.68 | 7.04 | 10.81 | 9.51 | 13.04 | 13.44 | 8.24 | 7.21 | 11.38 | 12.75 | NA | 11.43 | 11.13 | 6.88 | 9 | NA | 10.84 | NA | NA | 0 | 0.12
78 | 2026-03-19 | 9.5 | 7.36 | 8.81 | 10.73 | 6.99 | 10.79 | 9.51 | 10.28 | 13.41 | 8.24 | 7.21 | 11 | 12.73 | NA | 11.43 | 10.97 | 1.73 | 2.87 | NA | 10.81 | NA | NA | 0 | 0.19
79 | 2026-03-20 | 9.5 | 7.35 | 8.81 | 10.53 | 6.97 | 10.8 | 9.51 | 13.16 | 13.38 | 8.24 | 7.21 | 11.29 | 12.81 | NA | 11.45 | 10.88 | -3.54 | -3.54 | NA | 10.81 | NA | NA | 0 | 0.21
80 | 2026-03-21 | 9.5 | 7.35 | 8.81 | 10.06 | 6.99 | 10.79 | 9.51 | 13.1 | 12.35 | 8.24 | 7.21 | 11.35 | 12.86 | NA | 11.46 | 10.96 | -0.29 | -0.27 | NA | 10.82 | NA | NA | 0 | 0.25
81 | 2026-03-22 | 9.5 | 7.32 | 8.81 | 10.41 | 6.97 | 10.78 | 9.51 | 12.99 | 9.69 | 8.24 | 7.21 | 11.49 | 12.4 | NA | 11.44 | 10.86 | 8.43 | 8.34 | NA | 10.83 | NA | NA | 0 | 0.3
82 | 2026-03-23 | 9.5 | 7.37 | 8.81 | 10.68 | 6.92 | 10.78 | 9.51 | 9.7 | 9.69 | 8.24 | 7.21 | 11.34 | 11.97 | NA | 11.44 | 10.83 | 8.43 | 8.34 | NA | 10.83 | NA | NA | 0 | 0.28
83 | 2026-03-24 | 9.5 | 7.36 | 8.81 | 10.59 | 6.87 | 10.77 | 9.51 | 3.37 | 9.69 | 8.25 | 7.21 | 11.23 | 12.69 | NA | 11.44 | 10.79 | 8.63 | 8.63 | NA | 10.83 | NA | NA | 0 | 0.24
84 | 2026-03-25 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0.21
85 | 2026-03-26 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0.31
86 | 2026-03-27 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0.27
87 | 2026-03-28 | 9.5 | 7.34 | 8.82 | 10.76 | 6.73 | 10.96 | 9.51 | 13.35 | 9.69 | 8.25 | 7.21 | 11.37 | 10.81 | NA | 11.41 | 10.7 | 8.43 | 8.34 | NA | 10.84 | NA | NA | 0 | 0.2
88 | 2026-03-29 | 9.5 | 7.33 | 8.82 | 10.79 | 6.83 | 10.95 | 9.51 | 13.3 | 9.69 | 8.26 | 7.21 | 11.37 | 12 | NA | 11.42 | 10.72 | 8.64 | 8.82 | NA | 10.84 | NA | NA | 0 | 0.25
89 | 2026-03-30 | 9.5 | 7.33 | 8.82 | 10.75 | 8.52 | 11.15 | 9.51 | 13.28 | 9.69 | 8.25 | 7.21 | 11.4 | 12.47 | NA | 11.43 | 10.69 | 8.95 | 9.76 | NA | 10.84 | NA | NA | 0 | 0.24
90 | 2026-03-31 | 9.5 | 7.21 | 8.82 | 10.8 | 8.63 | 11.3 | 9.51 | 13.25 | 9.69 | 8.25 | 7.21 | 11.48 | 12.68 | NA | 11.43 | 10.67 | 9.69 | 9.71 | NA | 10.84 | NA | NA | 0 | 0.28
91 | 2026-04-01 | 9.5 | 7.01 | 8.81 | 10.62 | 8.41 | 11.54 | 9.51 | 13.2 | 9.69 | 7.7 | 7.21 | 11.47 | 12.71 | NA | 11.43 | 10.67 | 10.21 | 9.73 | NA | 10.84 | NA | NA | 0 | 0.3
92 | 2026-04-02 | 9.5 | 7.25 | 8.81 | 10.64 | 8.36 | 12.25 | 9.51 | 13.2 | 9.69 | 7.73 | 7.21 | 11.46 | 12.88 | NA | 11.43 | 10.65 | 10.22 | 9.69 | NA | 10.85 | NA | NA | 0 | 0.32
93 | 2026-04-03 | 9.5 | 7.3 | 8.81 | 10.7 | 8.24 | 12.34 | 9.51 | 13.2 | 9.69 | 8.29 | 7.21 | 11.16 | 12.87 | NA | 11.43 | 10.64 | 10.22 | 9.69 | NA | 10.85 | NA | NA | 0 | 0.26
94 | 2026-04-04 | 9.5 | 7.32 | 8.81 | 10.76 | 8.12 | 12.31 | 9.51 | 13.2 | 9.69 | 8.28 | 7.21 | 11.19 | 12.92 | NA | 11.44 | 10.64 | 10.21 | 9.71 | NA | 10.85 | NA | NA | 0 | 0.27
95 | 2026-04-05 | 9.5 | 7.31 | 8.81 | 10.75 | 8.25 | 12.8 | 9.51 | 13.2 | 9.69 | 8.27 | 7.21 | 11.23 | 12.94 | NA | 11.44 | 10.63 | 9.3 | 9.72 | NA | 10.85 | NA | NA | 0 | 0.25
96 | 2026-04-06 | 9.5 | 7.31 | 8.81 | 10.78 | 8.21 | 11.78 | 9.51 | 13.2 | 9.69 | 8.25 | 7.21 | 11.16 | 12.94 | NA | 11.45 | 10.62 | 9.23 | 9.72 | NA | 10.84 | NA | NA | 0 | 0.34
97 | 2026-04-07 | 9.5 | 7.31 | 8.81 | 10.56 | 8.14 | 11.15 | 9.51 | 13.2 | 9.73 | 8.24 | 7.21 | 11.1 | 12.95 | NA | 11.46 | 10.68 | 10 | 9.61 | NA | 10.84 | NA | NA | 0 | 0.34
98 | 2026-04-08 | 9.5 | 7.32 | 8.81 | 10.55 | 8.1 | 10.01 | 9.51 | 13.2 | 9.69 | 8.25 | 7.21 | 11.06 | 12.96 | NA | 11.48 | 10.6 | 10.64 | 9.58 | NA | 10.85 | NA | NA | 0 | 0.27
99 | 2026-04-09 | 9.5 | 7.33 | 8.82 | 10.7 | 8.09 | 10.61 | 9.51 | 13.2 | 9.69 | 8.24 | 7.21 | 11 | 12.92 | NA | 11.46 | 10.65 | 10.47 | 9.73 | NA | 10.84 | NA | NA | 0 | 0.28
100 | 2026-04-10 | 9.5 | 7.33 | 8.81 | 10.5 | 8.07 | 10.48 | 9.51 | 13.17 | 9.69 | 8.22 | 7.21 | 10.97 | 12.89 | NA | 11.45 | 10.59 | 10.16 | 9.73 | NA | 10.59 | NA | NA | 0 | 0.33
101 | 2026-04-11 | 9.5 | 7.34 | 8.81 | 10.43 | 8.04 | 10.66 | 9.51 | 13.1 | 9.69 | 8.23 | 7.21 | 10.91 | 12.88 | NA | 11.45 | 10.87 | 10.15 | 9.72 | NA | 10.84 | NA | NA | 0 | 0.34
102 | 2026-04-12 | NA | 7.35 | 8.81 | 10.66 | 8.04 | 10.83 | 9.51 | NA | NA | NA | NA | NA | 12.88 | NA | 11.46 | 10.8 | 10.14 | 9.71 | NA | 10.85 | NA | NA | NA | 0.2
103 | 2026-04-13 | 9.5 | 7.35 | 8.82 | 10.83 | 7.96 | 11.11 | 9.51 | 13.1 | 9.69 | 8.22 | 7.21 | 10.74 | 12.87 | NA | 11.45 | 10.56 | 10.12 | 9.73 | NA | 10.84 | NA | NA | NA | 0.23
104 | 2026-04-14 | 9.5 | 7.35 | 8.82 | 10.72 | 7.97 | 11.01 | 9.51 | 13.2 | 9.69 | 8.14 | 7.21 | 10.51 | 12.88 | NA | 11.46 | 10.55 | 10.11 | 9.73 | NA | 10.85 | NA | NA | NA | 0.26
105 | 2026-04-15 | 9.5 | 7.35 | 8.82 | 10.74 | 7.96 | 10.88 | 9.51 | 13.2 | 9.69 | 8.22 | 7.21 | 10.42 | 12.89 | NA | 11.46 | 10.54 | 10.13 | 9.72 | NA | 10.85 | NA | NA | NA | 0.26
106 | 2026-04-16 | 9.5 | 7.35 | 8.82 | 10.57 | 8.05 | 10.96 | 9.51 | 13.2 | 9.69 | 8.22 | 7.21 | 10.38 | 12.87 | NA | 11.47 | 10.61 | 10.12 | 9.72 | NA | 10.85 | NA | NA | NA | 0.22
107 | 2026-04-17 | 9.5 | 7.35 | 8.82 | 10.21 | 8.09 | 10.93 | 9.51 | 13.2 | 9.69 | 8.22 | 7.21 | 10.36 | 12.83 | NA | 11.47 | 10.92 | 10.13 | 9.71 | NA | 10.85 | NA | NA | 0 | 0.25
108 | 2026-04-18 | 9.5 | 7.35 | 8.82 | 10.77 | 8.09 | 10.82 | 9.51 | 13.14 | 9.69 | 8.21 | 7.21 | 10.35 | 12.79 | NA | 11.47 | 10.87 | 10.16 | 9.71 | NA | 10.85 | NA | NA | NA | 0.22
109 | 2026-04-19 | 9.5 | 7.35 | 8.82 | 10.71 | 8.11 | 11.02 | 9.51 | 13.18 | 9.69 | 8.21 | 7.21 | 10.36 | 12.75 | NA | 11.48 | 10.86 | 10.16 | 9.7 | NA | 10.85 | NA | NA | NA | 0.28
110 | 2026-04-20 | 9.5 | 7.35 | 8.81 | 10.77 | 8.08 | 11.23 | 9.51 | 13.2 | 9.69 | 8.21 | 7.21 | 10.35 | 12.7 | NA | 11.49 | 10.84 | 10.16 | 9.69 | NA | 10.85 | NA | NA | NA | 0.27
111 | 2026-04-21 | 9.5 | 7.35 | 8.82 | 10.63 | 8.08 | 11.12 | 9.51 | 13.2 | 9.69 | 8.19 | 7.21 | 10.35 | 12.65 | NA | 11.49 | 10.82 | 9.97 | 9.69 | NA | 10.85 | NA | NA | NA | 0.29
112 | 2026-04-22 | 9.5 | 7.36 | 8.82 | 10.57 | 7.93 | 11.02 | 9.51 | 13.2 | 9.69 | 8.21 | 7.21 | 10.33 | 12.56 | NA | 11.49 | 10.81 | 10.06 | 9.68 | NA | 10.83 | NA | NA | 0 | 0.34
113 | 2026-04-23 | 9.5 | 7.36 | 8.81 | 10.5 | 7.81 | 10.99 | 9.51 | 13.2 | 9.69 | 8.19 | 7.21 | 10.31 | 12.46 | NA | 11.5 | 10.8 | 10.03 | 9.69 | NA | 10.85 | NA | NA | 0 | 0.38
114 | 2026-04-24 | 9.5 | 7.36 | 8.81 | 10.56 | 7.05 | 10.94 | 9.51 | 13.25 | 9.69 | 8.21 | 7.21 | 10.27 | 12.28 | NA | 11.5 | 10.79 | 9.95 | 9.68 | NA | 10.74 | NA | NA | 0 | 0.41
115 | 2026-04-25 | 9.5 | 7.36 | 8.81 | 10.58 | 7.83 | 10.91 | 9.51 | 13.3 | 9.69 | 8.21 | 7.21 | 10.23 | 12.04 | NA | 11.51 | 10.8 | 9.89 | 9.66 | NA | 10.84 | NA | NA | 0 | 0.6
116 | 2026-04-26 | 9.5 | 7.38 | 8.81 | 10.37 | NA | 10.9 | 9.51 | 13.2 | 9.69 | 8.21 | 7.2 | 10.22 | 11.71 | NA | 11.52 | NA | NA | 9.63 | NA | 10.87 | NA | NA | 0 | 0
117 | 2026-04-27 | 9.5 | 7.38 | 8.82 | 10.65 | 7.93 | 11.26 | 9.51 | 13.2 | 9.69 | 8.21 | 7.22 | 10.27 | 11.47 | NA | 11.52 | 10.78 | 10.11 | 9.7 | NA | 10.86 | NA | NA | 0 | 0.51
118 | 2026-04-28 | 9.5 | 7.39 | 8.81 | 10.7 | 8.05 | 11.4 | 9.51 | 12.89 | 9.69 | 8.21 | 7.21 | 10.2 | 11.23 | NA | 11.51 | 10.77 | 10.13 | 9.67 | NA | 10.85 | NA | NA | 0 | 0.34
119 | 2026-04-29 | 9.5 | 7.39 | 8.81 | 10.75 | 8.26 | 11.36 | 9.51 | 12.78 | 9.69 | 8.21 | 7.21 | 10.18 | 11.17 | NA | 11.51 | 10.79 | 10.03 | 9.65 | NA | 10.85 | NA | NA | 0 | 0.41
120 | 2026-04-30 | 9.5 | 7.4 | 8.81 | 10.74 | 8.35 | 11.37 | 9.51 | 12.16 | 9.69 | 8.21 | 7.21 | 10.17 | 11.11 | NA | 11.51 | 10.77 | 9.99 | 9.68 | NA | 10.85 | NA | NA | 0 | 0.3
121 | 2026-05-01 | 9.5 | 7.4 | 8.81 | 10.84 | 8.28 | 11.29 | 9.51 | 11.43 | 9.69 | 8.21 | 7.21 | 10.16 | 11.06 | NA | 11.52 | 10.77 | 10.07 | 9.68 | NA | 10.85 | NA | NA | 0 | 0.35
122 | 2026-05-02 | 9.5 | 7.4 | 8.81 | 10.68 | 8.1 | 11.11 | 9.51 | 12.45 | 9.69 | 8.21 | 7.21 | 10.17 | 11.05 | NA | 11.54 | 10.79 | 10.08 | 9.65 | NA | 10.85 | NA | NA | 0 | 0.36
123 | 2026-05-03 | 9.5 | 7.4 | 8.81 | 10.73 | 8.3 | 11.09 | 9.51 | 12.49 | 9.69 | 8.22 | 7.21 | 10.16 | 11.01 | NA | 11.53 | 10.8 | 9.87 | 9.66 | NA | 10.84 | NA | NA | 0 | 0.27
124 | 2026-05-04 | 9.5 | 7.41 | 8.82 | 10.69 | 8.24 | 11.15 | 9.51 | 11.38 | 9.69 | 8.17 | 7.21 | 10.15 | 11 | NA | 11.53 | 10.78 | 10.14 | 9.67 | NA | 10.84 | NA | NA | 0 | 0.35
125 | 2026-05-05 | 9.5 | 7.41 | 8.82 | 10.64 | 8.03 | 11.21 | 9.51 | 7.43 | 9.69 | 8.22 | 7.21 | 10.12 | 10.98 | NA | 11.55 | 10.77 | 10.14 | 9.67 | NA | 10.84 | NA | NA | 0 | 0.31
126 | 2026-05-06 | 9.5 | 7.41 | 8.81 | 10.57 | 8.04 | 11.28 | 9.51 | 6.75 | 9.69 | 8.22 | 7.21 | 10.1 | 10.96 | NA | 11.59 | 10.76 | 10.13 | 9.69 | NA | 10.84 | NA | NA | 0 | 0.4
127 | 2026-05-07 | 9.5 | 7.41 | 8.81 | 10.61 | 7.88 | 11.43 | 9.51 | 10.45 | 9.69 | 8.23 | 7.21 | 10.11 | 10.95 | NA | 11.63 | 10.76 | 10.14 | 9.68 | NA | 10.83 | NA | NA | 0 | 0.47
128 | 2026-05-08 | 9.5 | 7.41 | 8.81 | 10.63 | 7.62 | 11.7 | 9.51 | 10.38 | 9.69 | 8.23 | 7.21 | 10.14 | 10.93 | NA | 11.65 | 10.75 | 10.09 | 9.68 | NA | 10.84 | NA | NA | 0 | 0.33
129 | 2026-05-09 | 9.5 | 7.41 | 8.83 | 10.66 | 7.58 | 11.34 | 9.51 | 12.97 | 9.69 | 8.24 | 7.21 | 10.13 | 10.93 | NA | 11.65 | 10.75 | 9.79 | 9.68 | NA | 10.82 | NA | NA | 0 | 0.37
130 | 2026-05-10 | 9.5 | 7.42 | 8.83 | 10.63 | 8.09 | 10.89 | 9.51 | 12.78 | 9.69 | 8.24 | 7.21 | 10.13 | 10.93 | NA | 11.66 | 10.75 | 10.13 | 9.69 | NA | 10.8 | NA | NA | 0 | 0.39
131 | 2026-05-11 | 9.5 | 7.42 | 8.83 | 10.64 | 8.19 | 10.71 | 9.51 | 12.68 | 9.69 | 8.23 | 7.21 | 10.13 | 10.93 | NA | 11.68 | 10.75 | 10.13 | 9.69 | NA | 10.73 | NA | NA | 0 | 0.41
132 | 2026-05-12 | 9.5 | 7.42 | 8.83 | 10.66 | 8 | 10.85 | 9.51 | 10.14 | 9.69 | 8.25 | 7.21 | 10.11 | 10.93 | NA | 11.67 | 10.75 | 10.13 | 9.68 | NA | 10.79 | NA | NA | 0 | 0.45
133 | 2026-05-13 | 9.5 | 7.42 | 8.83 | 10.67 | 7.82 | 11 | 9.51 | 7.62 | 9.69 | 8.25 | 7.21 | 10.09 | 10.92 | NA | 11.67 | 10.75 | 10.13 | 9.68 | NA | 10.78 | NA | NA | 0 | 0.24
134 | 2026-05-14 | 9.5 | 7.43 | 8.82 | 10.73 | 7.94 | 11 | 9.51 | 12.44 | 9.69 | 8.25 | 7.21 | 10.1 | 10.92 | NA | 11.67 | 10.75 | 10.11 | 9.68 | NA | 10.76 | NA | NA | 0 | 0.32
135 | 2026-05-15 | 9.5 | 7.42 | 8.81 | 10.71 | 7.82 | 11.09 | 9.51 | 12.14 | 9.69 | 8.26 | 7.21 | 10.09 | 10.92 | NA | 11.67 | 10.74 | 9.83 | 9.68 | NA | 10.76 | NA | NA | 0 | 0.2
136 | 2026-05-16 | 9.5 | 7.42 | 8.81 | 10.5 | 7.86 | 11.08 | 9.51 | 11.7 | 9.69 | 8.26 | 7.21 | 10.07 | 10.9 | NA | 11.67 | 10.74 | 9.7 | 9.68 | NA | 10.76 | NA | NA | 0 | 0.29
137 | 2026-05-17 | 9.5 | 7.43 | 8.81 | 10.11 | 7.81 | 11.2 | 9.51 | 12.95 | 9.69 | 8.26 | 7.21 | 10.07 | 10.89 | NA | 11.67 | 10.74 | 9.53 | 9.68 | NA | 11.55 | NA | NA | 0 | 0.28
138 | 2026-05-18 | 9.5 | 7.43 | 8.81 | 9.96 | 7.68 | 10.74 | 9.51 | 12.59 | 9.69 | 8.27 | 7.21 | 10.08 | 10.83 | NA | 11.66 | 10.73 | 9.69 | 9.69 | NA | 12.79 | NA | NA | 0 | 0.29
139 | 2026-05-19 | 9.5 | 7.43 | 8.81 | 11.71 | 7.86 | 10.11 | 9.51 | 11.79 | 9.69 | 8.27 | 7.21 | 10.05 | 10.9 | NA | 11.66 | 10.73 | 9.49 | 9.68 | NA | 12.59 | NA | NA | 0 | 0.27
140 | 2026-05-20 | 9.5 | 7.43 | 8.81 | 12.6 | 8.04 | 10.15 | 9.51 | 11.7 | 9.69 | 8.27 | 7.21 | 10 | 10.9 | NA | 11.66 | 10.73 | 9.66 | 9.68 | NA | 12.45 | NA | NA | 0 | 0.31
141 | 2026-05-21 | 9.5 | 7.43 | 8.81 | 11.77 | 7.86 | 11.3 | 9.51 | 11.7 | 9.69 | 8.27 | 7.48 | 9.8 | 10.82 | NA | 11.66 | 10.75 | 9.41 | 9.68 | NA | 12.34 | NA | NA | 0 | 0.34
142 | 2026-05-22 | 9.5 | 7.44 | 8.81 | 11.35 | 7.66 | 11.59 | 9.51 | 11.7 | 9.69 | 8.27 | 7.21 | 9.38 | 10.89 | NA | 11.66 | 10.9 | 9.07 | 9.63 | NA | 12.18 | NA | NA | 0 | 0.25
143 | 2026-05-23 | 9.5 | 7.44 | 8.81 | 11.13 | 7.63 | 10.41 | 9.51 | 11.7 | 9.69 | 8.28 | 7.21 | 9.53 | 10.9 | NA | 11.68 | 10.99 | 9.68 | 9.43 | NA | 12.16 | NA | NA | 0 | 0.19
144 | 2026-05-24 | 9.5 | 7.44 | 8.81 | 11 | 7.54 | 8.09 | 9.51 | 11.68 | 9.69 | 8.28 | 7.21 | 9.45 | 10.89 | NA | 11.68 | 10.88 | 10.13 | 9.43 | NA | 12.08 | NA | NA | 0 | 0.35
145 | 2026-05-25 | 9.5 | 7.44 | 8.81 | 10.94 | 7.37 | 9.06 | 9.51 | 11.64 | 9.69 | 8.28 | 7.21 | 9.37 | 11 | NA | 11.68 | 10.85 | 10.13 | 9.47 | NA | 12.04 | NA | NA | 0 | 0.36
146 | 2026-05-26 | 9.5 | 7.44 | 8.82 | 10.86 | 7.21 | 8.49 | 9.51 | 11.62 | 9.69 | 8.28 | 7.21 | 9.27 | 11.1 | NA | 11.67 | 10.87 | 10.12 | 9.53 | NA | 11.99 | 9.65 | NA | 0 | 0.3
147 | 2026-05-27 | 9.5 | 7.45 | 8.82 | 10.84 | 7.25 | 7.33 | 9.51 | 11.64 | 9.69 | 8.28 | 7.21 | 9.68 | 11.09 | NA | 11.68 | 10.76 | 9.69 | 9.37 | NA | 11.98 | 9.65 | NA | 0 | 0.41
148 | 2026-05-28 | 9.5 | 7.45 | 8.81 | 10.83 | 7.57 | 8.53 | 9.51 | 11.67 | 9.69 | 8.29 | 7.21 | 9.44 | 11.04 | NA | 11.68 | 10.79 | 9.09 | 9.25 | NA | 11.9 | 8.8 | NA | 0 | 2.01
149 | 2026-05-29 | 9.5 | 7.45 | 8.81 | 10.82 | 7.51 | 11 | 9.51 | 11.61 | 9.69 | 8.28 | 7.21 | 9.24 | 11.01 | NA | 11.68 | 10.72 | 9.6 | 9.4 | NA | 11.83 | 3.06 | NA | 0 | 0.31
150 | 2026-05-30 | 9.5 | 7.46 | 8.82 | 10.84 | 7.53 | 11.35 | 9.51 | 11.07 | 9.69 | 8.27 | 7.21 | 8.61 | 11.01 | NA | 11.67 | 10.71 | 9.72 | 9.54 | NA | 11.7 | 1.36 | NA | 0 | 0.3
151 | 2026-05-31 | 9.5 | 7.46 | 8.82 | 10.85 | 7.44 | 10.8 | 9.51 | 10.17 | 9.69 | 8.28 | 7.21 | 8.27 | 12.03 | NA | 11.67 | 10.71 | 9.22 | 9.57 | NA | 11.7 | 4.57 | NA | 0 | 0.29
152 | 2026-06-01 | 9.5 | 7.46 | 8.81 | 10.89 | 7.4 | 10.51 | 9.51 | 10.54 | 9.69 | 8.28 | 7.21 | 8.33 | 13.02 | NA | 11.67 | 10.71 | 9.05 | 9.48 | NA | 11.58 | 8.11 | NA | 0 | 0.29
153 | 2026-06-02 | 9.5 | 7.47 | 8.81 | 10.89 | 7.45 | 10.87 | 9.51 | 10.68 | 9.69 | 8.27 | 7.21 | 8.23 | 13.14 | NA | 11.68 | 10.73 | 9.54 | 9.46 | NA | 11.66 | 7.15 | NA | 0 | 0.3
154 | 2026-06-03 | 9.5 | 7.47 | 8.81 | 10.9 | 7.34 | 10.73 | 9.51 | 10.55 | 9.69 | 8.25 | 7.21 | 8.19 | 12.94 | NA | 11.68 | 10.72 | 10.11 | 9.54 | NA | 11.66 | 9.74 | NA | 0 | 0.27
155 | 2026-06-04 | 9.5 | 7.47 | 8.81 | 10.91 | 7.36 | 10.56 | 9.51 | 10.3 | 9.69 | 8.26 | 7.21 | 7.69 | 12.79 | NA | 11.68 | 10.71 | 10.13 | 9.54 | NA | 11.63 | 9.66 | NA | 0 | 0.24
156 | 2026-06-05 | 9.5 | 7.47 | 8.81 | 10.96 | 7.47 | 10.38 | 9.51 | 10.35 | 9.69 | 8.26 | 7.21 | 7.77 | 12.49 | NA | 11.67 | 10.69 | 10.13 | 9.66 | NA | 11.61 | 9.61 | NA | 0 | 0.24
157 | 2026-06-06 | 9.5 | 7.47 | 8.81 | 11 | 7.24 | 10.31 | 9.51 | 10.48 | 9.69 | 8.26 | 7.21 | 7.83 | 12.08 | NA | 11.67 | 10.69 | 10.13 | 9.65 | NA | 12.13 | 9.64 | NA | NA | NA
158 | 2026-06-07 | 9.5 | 7.47 | 8.81 | 11.03 | 7.22 | 10.34 | 9.51 | 10.68 | 9.69 | 8.26 | 7.21 | 8.12 | 12.27 | NA | 11.67 | 10.69 | 10.12 | 9.66 | NA | 12.49 | 9.62 | NA | NA | NA
159 | 2026-06-08 | 9.5 | 7.47 | 8.81 | 11.09 | 7.48 | 10.39 | 9.51 | 10.37 | 9.69 | 8.25 | 7.21 | 8.1 | 13.02 | NA | 11.66 | 10.67 | 9.32 | 9.63 | NA | 12.49 | 9.63 | NA | 0 | 0.22
160 | 2026-06-09 | 9.5 | 7.48 | 8.81 | 11.12 | 7.59 | 10.46 | 9.51 | 11.9 | 9.69 | 8.25 | 7.21 | 8.12 | 12.94 | NA | 11.66 | 10.68 | 9.67 | 9.67 | NA | 12.43 | 9.64 | NA | 0 | 0.32
161 | 2026-06-10 | 9.5 | 7.48 | 8.81 | 11.13 | 7.95 | 10.64 | 9.51 | 13.89 | 9.69 | 8.23 | 7.21 | 7.77 | 12.91 | NA | 11.66 | 10.69 | 9.51 | 9.57 | NA | 12.23 | 9.64 | NA | 0 | 0.31
162 | 2026-06-11 | 9.5 | 7.48 | 8.81 | 11.15 | 8 | 10.71 | 9.51 | 14.11 | 9.69 | 8.27 | 7.21 | 7.86 | 12.95 | NA | 11.67 | 10.69 | 9.58 | 9.55 | NA | 12.06 | 9.65 | NA | 0 | 0.32
163 | 2026-06-12 | 9.5 | 7.48 | 8.81 | 11.19 | 7.75 | 10.94 | 9.51 | 13.76 | 9.69 | 8.28 | 7.21 | 8.02 | 12.87 | NA | 11.66 | 10.69 | 9.44 | 9.42 | NA | 12.04 | 9.63 | NA | 0 | 0.36
164 | 2026-06-13 | 9.5 | 7.48 | 8.81 | 11.24 | 7.54 | 11.14 | 9.51 | 13.72 | 9.69 | 8.29 | 7.21 | 7.81 | 11.48 | NA | 11.66 | 10.69 | 9.34 | 9.5 | NA | 11.94 | 9.64 | NA | 0 | 0.29
165 | 2026-06-14 | 9.5 | 7.48 | 8.81 | 11.28 | 7.78 | 10.86 | 9.51 | 13.72 | 9.69 | 8.28 | 7.21 | 8.23 | 10.44 | NA | 11.66 | 10.68 | 9.13 | 9.52 | NA | 11.76 | 9.7 | NA | 0 | 0.29
166 | 2026-06-15 | 9.5 | 7.49 | 8.81 | 11.33 | 7.86 | 10.48 | 9.51 | 13.67 | 9.69 | 8.29 | 7.21 | 8.33 | 10.57 | NA | 11.66 | 10.68 | 9.14 | 9.67 | NA | 11.68 | 9.63 | NA | 0 | 0.31
167 | 2026-06-16 | 9.5 | 7.49 | 8.81 | 11.38 | 7.73 | 10.36 | 9.51 | 13.6 | 9.69 | 8.29 | 7.21 | 8.06 | 12.9 | NA | 11.64 | 10.68 | 9.74 | 9.58 | NA | 11.6 | 9.61 | NA | 0 | 0.24
168 | 2026-06-17 | 9.5 | 7.49 | 8.81 | 11.42 | 7.72 | 10.29 | 9.51 | 13.51 | 9.69 | 8.3 | 7.21 | 7.89 | 12.72 | NA | 11.63 | 10.69 | 10.15 | 9.38 | NA | 11.57 | 9.57 | NA | 0 | 0.21
169 | 2026-06-18 | 9.5 | 7.49 | 8.8 | 11.48 | 7.62 | 10.64 | 9.51 | 13.08 | 9.69 | 8.3 | 7.21 | 8 | 12.32 | NA | 11.67 | 10.71 | 9.82 | 9.04 | NA | 11.57 | 9.63 | NA | 0 | 0.36
170 | 2026-06-19 | 9.5 | 7.49 | 8.81 | 11.51 | 7.41 | 10.83 | 9.51 | 12.77 | 9.69 | 7.92 | 7.21 | 8.11 | 11.21 | NA | 11.67 | 10.7 | 9.78 | 9.16 | NA | 11.49 | 9.65 | NA | 0 | 0.26
171 | 2026-06-20 | 9.5 | 7.49 | 8.81 | 11.43 | 7.31 | 10.68 | 9.51 | 12.62 | 9.69 | 8.32 | 7.21 | 8.09 | 12.32 | NA | 11.66 | 10.68 | 10.15 | 9.23 | NA | 11.49 | 9.66 | NA | 0 | 0.24
172 | 2026-06-21 | 9.5 | 7.49 | 8.8 | 11.53 | 7.28 | 10.49 | 9.51 | 11.62 | 9.69 | 8.31 | 7.21 | 8.09 | 13.09 | NA | 11.65 | 10.73 | 10.15 | 9.01 | NA | 11.51 | 9.66 | NA | 0 | 0.3
173 | 2026-06-22 | 9.5 | 7.49 | 8.82 | 11.52 | 7.12 | 10.74 | 9.51 | 11.32 | 9.69 | 8.3 | 7.21 | 8.13 | 12.6 | NA | 11.68 | 10.68 | 10.15 | 8.74 | NA | 12.26 | 9.72 | NA | 0 | 0.28
174 | 2026-06-23 | 9.5 | 7.49 | 8.81 | 11.56 | 6.97 | 10.83 | 9.51 | 11.22 | 9.69 | 8.3 | 7.21 | 7.86 | 13.39 | NA | 11.68 | 10.69 | NA | NA | NA | 12.54 | 9.8 | NA | 0 | 0.37
175 | 2026-06-24 | 9.5 | 7.5 | 8.82 | 11.57 | 6.82 | 10.76 | 9.51 | 11.19 | 9.69 | 8.3 | 7.21 | 7.92 | 13.29 | NA | 11.69 | 10.68 | NA | NA | NA | 12.5 | 9.8 | NA | 0 | 0.27
176 | 2026-06-25 | 9.5 | 7.5 | 8.84 | 11.72 | 6.73 | 11.2 | 9.51 | 11.11 | 9.69 | 8.3 | 7.21 | 7.84 | 12.9 | NA | 11.68 | 10.67 | NA | NA | NA | 12.49 | 9.8 | NA | 0 | 0.33
177 | 2026-06-26 | 9.5 | 7.51 | 8.83 | 11.8 | 6.86 | 11.38 | 9.51 | 11.14 | 9.69 | 8.28 | 7.21 | 7.71 | 12.85 | NA | 11.67 | 10.67 | NA | NA | NA | 12.54 | 9.8 | NA | 0 | 0.24
178 | 2026-06-27 | 9.5 | 7.47 | 8.83 | 11.68 | 6.8 | 11.16 | 9.51 | 11.19 | 9.69 | 8.3 | 7.21 | 7.86 | 12.99 | NA | 11.68 | 10.68 | NA | NA | NA | 12.49 | 9.8 | NA | 0 | 0.34
179 | 2026-06-28 | 9.5 | 7.5 | 8.81 | 11.58 | 6.69 | 11.08 | 9.51 | 11.09 | 9.69 | 8.29 | 7.21 | 7.67 | 13.01 | NA | 11.7 | 10.71 | NA | NA | NA | 12.51 | 9.8 | NA | 0 | 0.24
180 | 2026-06-29 | 9.5 | 7.51 | 8.81 | 11.51 | 6.57 | 11.02 | 9.51 | 11.1 | 9.69 | 8.3 | 7.21 | 8.07 | 13.22 | NA | 11.68 | 10.7 | NA | NA | NA | 12.53 | 9.8 | NA | 0 | 0.44
181 | 2026-06-30 | 9.5 | 7.52 | 8.81 | 11.5 | 6.54 | 10.55 | 9.51 | 11.1 | 9.69 | 8.3 | 7.21 | 8.27 | 13.28 | NA | 11.68 | 10.7 | NA | NA | NA | 12.5 | 9.8 | NA | 0 | 0.47
182 | Prescribed Standards | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6..5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | 6.5 - 8.5 | - | - | - | -
183 | Maximum Value | 9.5 | 15.21 | 14.08 | 12.6 | 9.01 | 12.89 | 9.51 | 19.74 | 13.8 | 14.4 | 11.29 | 11.54 | 13.39 | NA | 11.7 | 15.19 | 10.64 | 9.76 | 9.8 | 12.79 | 9.8 | NA | 0 | 2.01
184 | Maximum Value At Time | 2026-01-01 | 2026-01-29 | 2026-01-02 | 2026-05-20 | 2026-01-20 | 2026-01-09 | 2026-03-11 | 2026-02-25 | 2026-01-16 | 2026-03-06 | 2026-02-13 | 2026-03-15 | 2026-06-23 | NA | 2026-06-28 | 2026-02-01 | 2026-04-08 | 2026-03-30 | 2026-01-01 | 2026-05-18 | 2026-06-23 | NA | 2026-01-01 | 2026-05-28
185 | Minimum Value | 9.5 | 0.95 | 1.43 | 9.96 | 6.08 | 7.33 | 0.95 | -0.35 | 1.37 | 7.7 | 7.2 | 7.67 | 4.86 | NA | 11.28 | 10.54 | -3.54 | -3.54 | 9.8 | 10.35 | 1.36 | NA | 0 | 0
186 | Minimum Value At Time | 2026-01-01 | 2026-02-17 | 2026-02-16 | 2026-05-18 | 2026-02-13 | 2026-05-27 | 2026-01-01 | 2026-01-03 | 2026-01-10 | 2026-04-01 | 2026-03-15 | 2026-06-28 | 2026-01-20 | NA | 2026-01-01 | 2026-04-15 | 2026-03-20 | 2026-03-20 | 2026-01-01 | 2026-02-27 | 2026-05-30 | NA | 2026-01-01 | 2026-04-26
187 | Geometric Mean | 9.5 | 8.52 | 8.39 | 11.07 | 7.62 | 11.11 | 9.08 | 10.63 | 10.73 | 9.94 | 7.91 | 10.19 | 11.9 | NA | 11.49 | 11.29 | 8.27 | 9.06 | 9.8 | 11.34 | 8.99 | NA | 0 | 0.32
188 | Median | 9.5 | 7.43 | 8.81 | 10.94 | 7.65 | 11.08 | 9.51 | 11.63 | 9.69 | 8.27 | 7.21 | 10.46 | 12.29 | NA | 11.45 | 10.82 | 9.08 | 9.27 | 9.8 | 10.85 | 9.64 | NA | 0 | 0.29
189 | Standard Deviation | 0 | 2.29 | 1.91 | 0.5 | 0.55 | 0.84 | 1.84 | 3.7 | 2.82 | 2.66 | 1.49 | 1.23 | 1.28 | NA | 0.13 | 1 | 2.15 | 1.66 | 0 | 0.7 | 1.94 | NA | 0 | 0.17
190 | Valid Data Points | 170 | 170 | 171 | 171 | 170 | 171 | 171 | 170 | 170 | 154 | 154 | 154 | 155 | 0 | 171 | 170 | 162 | 163 | 41 | 171 | 36 | 0 | 170 | 174
191 | Total Data Points | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181 | 181
192 | Data Availablity % | 93.92 | 93.92 | 94.48 | 94.48 | 93.92 | 94.48 | 94.48 | 93.92 | 93.92 | 85.08 | 85.08 | 85.08 | 85.64 | 0 | 94.48 | 93.92 | 89.5 | 90.06 | 22.65 | 94.48 | 19.89 | 0 | 93.92 | 96.13